Instructions for TLSO with Perineal Straps
The bottom strap on the TLSO is also used to prevent the brace from sliding up. 

Place the TLSO on as per the usual instructions and do up the middle and top straps.

 Bring the bottom strap around from the back of the brace to the front of the thigh, between the legs and around the back of the thigh.

Continue around the side of the thigh and up to the bottom buckle. Feed the strap through and attach the Velcro. 

Refer to the illustrations.

If you have any questions about the brace, please call AMPOS at 613-745-3173.

