Bi-Valved Rigid CTLSO 
[image: image1.png]


The Cervical-Thoracic-Lumbar-Sacral Orthosis(CTLSO) is designed to restrict all motion of the upper and mid spine.

How to applv: (in flat lying) 

1. Ideally the orthosis should be worn on top of a T-shirt, nightshirt, or long undershirt to allow for ventilation. 

2. Log roll the patient to their preferred side. 

3. Put on back section of the brace first, by sliding edge of brace and velcro straps under the patient's side. Try to match the contour of the head and neck to the corresponding sections of the brace back.  The bottom of the orthosis should be about the mid​point (apex) of the bum and tucked underneath the body as much as possible. 
[image: image2.png]Headband





4. Roll patient flat onto their back, making sure that the shoulders and hips are square. At this point, the orthosis may need to be pulled so that the orthosis is lying centered on the back. Feel the sides to make sure that the orthosis comes up equally on either side of the body.  If the brace is not even, roll onto the side where the brace is over too far, and pull on the brace to square the brace to the body.  Never lift the hips AT ANY TIME.
5. [image: image3.png]


Next place the front section of the orthosis on the patient. This section should be placed low enough so that the belly is covered as much as possible. This may mean that the chest and chin section is lower than normal, but it will move up once the brace is tightened.  Straps should be done up from the bottom up, loosely at first, and then pulled tight.  
6. Attach the straps from the back of the head to underneath the chin.  Also put the headband into place.
[image: image4.png]



Turn the page over
[image: image5.png]




How it should look: 
The chin piece should sit so that the patient is looking straight ahead (the chin should not drop).  
How to eat: In order to eat, the patient has to lower the chin piece.  Lift the tab, then slide the metal downward and replace the tab to hold into place.  Do not forget to return to the original position once the patient is done eating!
How to remove:  Lie down flat on the back.  Undo velcro straps.  Remove front section first.  Put a collar into place under the chin.  Log roll patient to most comfortable side.  Slide out back section and replace with the back section of the collar.
When to wear brace:  Typically, the brace should be worn at all times.  Sometimes, the doctor will allow the patient to only wear it whenever the patient is sitting up or standing. It can be off when they lie down, but replaced with a collar. Only do this if authorized by the doctor. It should be applied and taken off in a lying position.  
Shower/Bathing:   The brace can be worn in the water. After a shower or bath, remove the brace, rinse, then towel dry and let air dry for a short time (15- 30 minutes).  Switch and wash the pads at this time.
Care & Cleaning:   We recommend washing at least once a week. Use soap and water and a washcloth or sponge. Rinse the soap residue off completely. After cleaning, towel dry and let stand for a short time (15- 30 minutes). 

If you have any problems, questions, or concerns regarding the brace please give AMPOS Orthopaedics a call at (613) 745-3173 or 1-800-216-6777.   
